## Data
Data
PASS
FAIL

## Dev Kit #
Quality Control - Deployment Testing - Dev Kit #
Battery Pack ID:
Test | Status | Notes
Buttons start at approximately 1 mm of recess
All buttons return to appropriate recess depth after use
Power button working
Reset button working
Record button working
Charging indicator LED working
State indicator LED working
LED colors correspond to functions
Settings file for associated Nods has been updated on SD card
Pairing with associate Nods (goes into READY state)
SD card is electronically labled with battery pack ID
Nod Set ID:
Test | Status | Notes
All firmware updated
Sensor seating in base
All LEDs work when connected to suit
USB Charger ID:
Test | Status | Notes
USB cable (check that it works)
USB power adapter (check that it works)
Suit Pants ID:
Physical Check | Status | Notes
Visual scan of baseplates
Visual scan of wiring
Visual scan of shirt connector
Visual scan of pants connector
Visual scan of heat shrink
Wiring tests with voltmeter
Visual scan of all seams
ID label present
Suit Shirt ID:
Physical Check | Status | Notes
Visual scan of baseplates
Visual scan of wiring
Visual scan of shirt connector
Visual scan of pants connector
Visual scan of heat shrink
Wiring tests with voltmeter
Visual scan of all seams
ID label present
Software Build:
Test | Status | Notes
LOGIN
Log in with an active data collector account
Log in with an active data analyst account
Log in with an invalid username
Log in with an invalid password
Attempt to log in without an internet connection
Log in with an expired data analyst account
Log in with an expired data collector account
Log in with an inactive data analyst account
Log in with an inactive data collector account
BATTERY PACK CONNECTION
On searching for battery packs, be able to locate active and paired brainpacks
On searching for battery packs, fail to locate unavailable brainpacks
Connect application to battery pack
Request to disconnect from the battery pack, then reconnect
LIVE VIEW
Brainpack state change: From idle to recording
Brainpack state change: From recording to idle
Brainpack state change: From recording to reset
Brainpack state change: From idle to reset
Brainpack state change: From recording to error
Avatar recovery from battery pack shutdown: shutdown battery pack while streaming, reconnect to battery pack, start live recording
Analysis menu functional (all metrics can be viewed, menu can appear and hide)
Analysis metrics within an acceptable range
Switch between live and recording view when brainpack is connected
Set recording name
Sensor orientation check
Sensor drift within acceptable range (Note: must be done while wearing suit after Nods have been warmed up for approximately 15 minutes)
PLAYBACK
Recording file name saved correctly on SD card
Ability to playback recording files
Playback functions working (spacebar, play, pause, change speed)
When collecting analysis data, a save dialog window opens when the recording is completed
Recording view: Collect anaylsis data and export data to a specified folder
Exported .CSV file that is created is functional
Debug context disabled
OTHER
Settings menu functional
Launching the application resolutions lower than 1920 X 1080 but not respecting an aspect ratio of 16:9
Launching the application resolutions lower than 1920 X 1080 but respecting an aspect ratio of 16:9
Final Check of Suit + Battery Pack + Nods:
Test | Status | Notes
Able to connect in live view
Clearing/deleting all non-needed files from battery pack
1 full charging cycle (charged until full, then drained fully, then charged until fill)

## Web Dashboard
Web Dashboard Version:
Test | Status | Notes
Create super admin account (Heddoko)
Add license
Create admin
Create data analyst
Create data collector
Delete admin
Delete data anlyst
Delete data collector
Reactivate expired admin account
Reactivate expired data analyst account
Reactivate expired data collector account
Reactivate a deleted admin account
Reactivate a deleted data analyst account
Reactivate a deleted data collector account
Change expiry date for data analyst license
Change expiry date for data collector license
Transfer admin account
Change password as admin
Change password as data analyst
Change password as data collector
Modify data analyst license to data collector
Modify data collector license to data analyst
As admin change status of data analyst
As admin change status of data collector